## Slide 1
Characterization of Flame Retardants in Polymers:
X-ray Interferometry Tomography & Numerical Simulation
Godfrey Mills1*, Omoefe Kio1, Kyungmin Ham2, Jonathan McCarney3, and Les Butler1
1Department of Chemistry, Louisiana State University. 2Center for Advanced Microstructures & Devices, Louisiana State University. 3 Albemarle Corporation, Process Development Center, P.O. Box 341, Baton Rouge, Louisiana 70821 Correspondence :gmills@lsu.edu, okio1@lsu.edu, lbutler@lsu.edu, kham1@lsu.edu
Introduction
X-ray grating interferometry was applied in the non-destructive evaluation of samples prepared using the AM technique -fused deposition modelling.
Three image modalities: absorption (abs), differential phase contrast (dpc) and dark-field (small angle scattering) are generated.
The dark-field image gives information on anisotropic voids or cracks, with the ability to probe different scattering based on interferometer configuration.
The sample was a 3D printed Stanford bunny and resulting dark-field images highlighted gaps aligned with print layers.
The effect of heating on plastics incorporated with flame retardant (FR) material is also being explored.
X-ray tomography was applied to sand-biochar mixture to characterize the pore space, sand, and biochar after which a pore network model was used to simulate flow

## Slide 2
Methodology
Samples
Stanford Bunny printed from acrylonitrile butadiene styrene polymer (ABS) using a Stratasys Dimension Elite 3D printer.
Rectangular block printed with alternating ABS-FR and ABS layers (ratios 1:3 and 1:1) using a Flashforge Creator Pro Dual Extrusion 3D Printer.
Rectangular block molded from high impact polystyrene (HIPS) and different weight percent of brominated flame retardant (BFR).
Sand and biochar mixture
Grating-based X-ray interferometry & Tomography Imaging
Grating based X-ray interferometry imaging set-up shown in Figure 1.
Two interferometry systems were used.
A W. M. Keck laboratory system at LSU which comprised
  - A microfocus tungsten target X-ray tube (operated at 45 kV, 290 μA with a 40 μm spot size)
  - Three 4.8 μm-period gratings - G0, G1 and G2. - Pilatus 100k detector (487 x 195 grid of 1722 μm2 pixels).
A synchrotron system at CAMD LSU optimized for 38 keV and comprised
  - Three 4.8 μm-period gratings - G0, G1 and G2. - The detector comprised a PCO edge 5.5 camera and a YAG(Ce) scintillator.
Using a stepped-grating procedure , 2D and tomographic images were acquired.
Different scattering lengths were explored by changing sample-to-G2 distances
Figure 1. Schematic showing the interferometer set-up. (a) The horizontal grating orientation. (Vertical grating orientation achieved by rotating gratings by 90o)
Flammability test and imaging
Figure 2. Schematic showing the heater setup, heated polymer imaging, and polymer sample reference size

## Slide 3
Results
Stanford Bunny
Similar absorption images for either grating orientation. Figures 3a and 3c
Comparison of dark-field images, Figures 3b and 3d, reveal higher intensities with horizontal gratings ,Figure 3b, indicating more scatterers with the longer axes aligned with the grating.
Figure 3. Reconstructed tomography volumes. a) Absorption image and b) dark-field image with gratings oriented horizontally. c) Absorption image and d) dark-field image with gratings oriented vertically.
Figure 4. Polymer samples containing flame retardants heated at 350oC
C (12% by weight BFR )
D (6% by weight BFR)
E (3% by weight BFR )
Conventional FR/polymer bars
3D printed FR/polymer bars
As sample-to-G2 distance scanned from 80mm to 110mm, larger scattering structures detected (Figure 5)
Scattering length went from 0.783 nm to 1077nm
a
d
c
b
e
f
Figure 5. Reconstructed dark-field tomography volumes for a 3D printed block of ratios 1:1 alternating ABS-FR and ABS layers
a
e

## Slide 4
Sand
Biochar
Extracted pore network
segmented subvolume
Results cont’d
Grey scale
Sample ID | Hydraulic conductance (cm/s) | Porosity (%)
Sand+Biochar (Sim) | 0.1 | 49.5
Sand+ Biochar (Exp) | 0.3 | 54

## Slide 5
Conclusions
The dark-field images obtained using X-ray grating interferometry are important for detecting sub-pixel voids in samples resulting from the absence of material as seen in the bunny sample or loss/vaporization of material due to heating as seen with the FR-polymer bars.
The FR-polymer bars characterization with x-ray grating interferometry could potential improve our understanding of flame retardants, and how manufactured FR-polymers could be improved for optimum performance.
We are currently exploring a number of scattering lengths in order to obtain quality information that will help us understand the size distribution of voids or cracks. In addition we are conducting numerical simulations with COMSOL Multiphysics to help understand the evolution of bubbles and temperature gradient across heated polymer
K saturation (cm/s) and porosity values obtained from image-based flow simulation are similar to the experimental values